## Slide 1
Data File
dicom_lst2.mat
MRI Files
Series Directories
i*.dcm files
1. dicom_lst2.m
- Read Series directories
- Read DICOM headers
Data File
dicom_lst2.xlsx
(Information on DICOM series)
Segmentation Files
*.csv files
3. plt_csv5.m
- Plot segmentations
Plot Files
dig_plt5*.ps/.pdf
(Verification of digitization)
Data Files
T1rho_S*.mat and T2star_S*.mat
2. rd_dicom.m
- Read DICOM files
- Register spin lock/echo times
4. contact_chkMay24.m
- Find maximum femur/
tibia cartilage overlap
- Manually correct if >=2 pixels
Data Files
contact_chkMay24.xlsx
overlap_hist.pdf
5. rm_overlapMay24.m
- Removes cartilage overlap
6. chk2_3d_2d.m
- Checks 3D & 2D RO coordinates
Prints file(s)
to screen
7. fix7ro2.m
- Fixes subject 7 CSV cartilage file
8. contact_chk2May24.m
- Verify cartilage overlap
Data Files
contact_chk2May24.xlsx
overlap_hist_RO2.pdf
A
B

## Slide 2
9. seg_2rois.m
- Plot segmentations
- Create masks
- Plot masks
Data Files
T1rho_S*_2rois.mat and
T2star_S*_2rois.mat
Plot Files
S*_2ROIs1.ps/.pdf
S*_2ROIs2.ps/.pdf
S*_2ROIs3.ps/.pdf
S*_2ROIs4.ps/.pdf
(Segmentations/ROIs masks)
10. mri_fitr3u.m
- Calculate T1rho/T2*
- Plot T1rho/T2* values
Plot Files
mri_fitr3u*.ps/.pdf
(T1rho/T2* plots)
Data Files
mri_fitr3u1.xlsx
mri_fitr3u2.xlsx
(T1rho/T2* values)
Data File
mri_fitr3u.mat
A
B
9m. seg_mr_rois.m
- Plot segmentations
- Create masks
- Plot masks
Data Files
T1rho_S*_mrois.mat and
T2star_S*_mrois.mat
Plot Files
S*_ROIs1.ps/.pdf
S*_ROIs2.ps/.pdf
(Segmentations/ROIs masks)
10m. mri_mer_fit.m
- Calculate T1rho/T2*
- Plot T1rho/T2* values
Plot Files
mri_mer_fit*.ps/.pdf
(T1rho/T2* plots)
Data Files
mri_mer_fit*.xlsx
(T1rho/T2* values)
Data File
mri_mer_fit_*.mat
Meniscus
Meniscus
Femur and Tibia
Femur
and Tibia